## Grand total
PROPOSED OFFICE CONSTRUCTION IN CAMPO LANDSCAPE IN CAMEROUN FOR AWF - 2021.
DIVISIONS | COST (USD)
Divisions Summary
TOTAL DIVISION 1, PRELIMINARIES | 0
TOTAL DIVISION 2, STRUCTURE | 0
TOTAL DIVISION 3, ELECTRICAL WORKS | 0
TOTAL DIVISION 4,Toilets and Kitchenett | 0
TOTAL DIVISION 5, SEPTIC TANK AND S. AWAY PIT | 0
TOTAL DIVISION 6, EXTERNAL WORKS | 0
GRAND TOTAL | 0

## DIVISION 1 Preminlinaries
Bill of Quantities DIVISION 1 - CAMPO OFFICES -CAMEROON - PRELIMINARIES
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT [USD)
DIVISION 1 - SUBDIVISION 1 -NOTES-
1.1.1 | Generally: The Contractor shall be responsible for the construction, maintenance and removal of all temporary works, and shall be responsible for ensuring the safety of such works and compliance with appropriate regulations and Codes of Practice. | NOTE
1.1.2 | Supervision of the Works: The Contractor shall provide sufficient qualified staff for the execution of the Works necessary for the due fulfillment of the Contractor's obligations under the Contract. | NOTE
1.1.3 | Security: The Contractor shall safeguard the Works, materials and plant against damage, loss or injury,including all necessary hoarding, watching and lighting for the safety and security of the Works and the protection of the public and provide shelter and reasonable accommodation for watchmen all for the safety and security of the Works and the protection of the public. | NOTE
1.1.4 | Small Plant and Tools: The Contractor shall provide for all necessary small plant and tools for the proper execution and completion of the Works. | NOTE
1.1.5 | Site Office: Provide for construction and furnishing of site office of plinth area 10 m2 to approval. | NOTE
SUBTOTAL DIVISION 1 SUBDIVISION 1 -NOTES-
DIVISION 1 - SUBDIVISION 2 - PRELIMINARIES
1.2.1 | Mobilization/De-Mobilization: The contractor shall quote all cost for requirements of tools, machineries, staff and materials, etc to fulfill the contract to the satisfaction of the client | 1 | SUM |  | 0
1.2.2 | Sign Board: The contractor shall provide for a standard metal sign board in the HP made out of gauge 14 plate sheet and supported by 75 x 50 x 3mm Rectangular hollow sections (RHS) to be encase in concrete surround 300mm diameter and 500mm deep. The sign board shall be 2000 x 1500 mm in size and details of the writings to be provided by AWF. | 1 | Pcs |  | 0
1.2.3 | Site Office: Provide for construction and furnishing of site office of plinth area 20 m2 to design and specifications.The office will be made of iron sheet walling and timber framed structure spaced at 1500mm c/c vertical members .Roof covering made of iron sheet too.TO BE USED AS A SITE STORE | 1 | Item |  | 0
SUBTOTAL DIVISION 1 SUBDIVISION 2 -PRELIMINARIES- |  |  |  |  | 0
DIVISION 1 -TOTAL
SUBTOTAL DIVISION 1 SUBDIVISION 1 -NOTES- |  |  | NOTE
SUBTOTAL DIVISION 1 SUBDIVISION 2 -PRELIMINARIES- |  |  | 0
TOTAL DIVISION 1, Preliminaries |  |  | 0

## DIVISION 2 STRUCTURE
Bill of Quantities DIVISION 2 - CAMPO OFFICES -CAMEROUN - STRUCTURE
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT [USD)
DIVISION 2 - SUBDIVISION 1 -EXCAVATION
Strip footing
2.1.1 | Clear site of all grass, shrubs, small trees and cart away as directed | 420 | SM |  | 0
2.1.2 | Excavate over site to remove top vegetation and soil 300mm | 420 | SM |  | 0
2.1.3 | Excavation of foundaton strip, width 600 from pre-excavated level.Avarage depth of 1.5m | 198 | CM |  | 0
2.1.4 | Backfilling of selected compactable soil material with compaction work or water flushing consolidation up to soil surface | 110 | CM |  | 0
2.1.5 | load and cart away from site the soil materials | 55 | CM |  | 0
Column footing 20NUMBER |  |  |  |  | 0
2.1.6 | Excavate 1000 mm X 1000 mm wide column pits avarage depth 1500 mm | 33 | CM |  | 0
2.1.7 | Return fill and rum excavated material around the column footing | 26 | CM |  | 0
2.1.8 | load and cart away from site the overburn materials | 2 | CM |  | 0
2.1.9 | Excavate for the designated area ramp areas 1500mm deep, including ramming to compaction | 15 | CM |  | 0
2.1.10 | Return fill and rum excavated material around the ramp areasfooting | 12 | CM |  | 0
2.1.11 | load and cart away from site the overburn materials | 8 | CM |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 1;EXCAVATION |  |  |  |  | 0
DIVISION 2 - SUBDIVISION 2 -Concrete works
Strip footing Concrete
2.2.1 | Supply all materials and cast R.C strip footing , 600 mm wide x 250 mm thick vibrated reinforced concrete 1:1.5:3 (class 25/20) | 33 | CM |  | 0
2.2.2 | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for strip footing B1 | 450 | KG |  | 0
2.2.3 | Ditto but 10 mm bars B2 for strip footing | 450 | KG |  | 0
2.2.4 | Sawn form work 200 mm high for both sides of the strip footing | 470 | LM |  | 0
Column Concrete works |  |  |  |  | 0
2.2.5 | Supply all materials and cast R.C column footing 300 mm thick 1000 x 1000 mm wide 1:1.5:3 (class 25/20) (B1 & B2 | 10 | CM |  | 0
2.2.6 | Supply all materials and cast R.C column 200 mm X 200 mm wide 1:1.5:3 (class 20/20) | 3 | CM |  | 0
2.2.7 | 12 mm high tensile DEFORMED bars (T); cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for column footing B3 & B5 @ 200 mm c/c | 150 | KG |  | 0
2.2.8 | Ditto T 8 @ 200 c/c for Stirrups | 120 | KG |  | 0
2.2.9 | Sawn formwork to sides of column footing 200 mm thick | 40 | SM |  | 0
Access Ramp and Stairs
2.2.10 | Supply all materials and cast R.C ramp , 1800 mm wide x 200 mm thick vibrated reinforced concrete 1:1.5:3 (class 250/20) | 3 | CM |  | 0
2.2.11 | T10 mm high tensile DEFORMED bars (T); cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for footing B1 @ 200 mm c/c | 60 | KG |  | 0
2.2.12 | T8 mm high tensile DEFORMED bars (T); cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for footing B2 @ 200 mm c/c | 50 | KG |  | 0
2.2.12 | concrete steps and treads as normal access to the office spaces concerete class 25 /20 | 10 | CM |  | 0
2.2.13 | Formwork to the ramps AND TREADS pit footing | 200 | LM |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 2;Concrete works |  |  |  |  | 0
DIVISION 2-SUBDIVISION 3 -Substracture walling
2.3.1 | 200 mm thick natural foundation stone walling bonded in cement /sand mortar ration (1;3) reinforced with 25 mm wide hoop iron at every two alternate courses | 300 | SM |  | 0
2.3.2 | Supply and handpack hardcore 300 mm compacted in layers of 150 mm thick . | 80 | SM |  | 0
2.3.3 | Supply and spread 50 mm thick murram to fill the hardcore pockets | 420 | SM |  | 0
2.3.4 | Apply and spray herbicide Gladiator or any equavalent | 420 | SM |  | 0
2.3.5 | Supply and lay 1000 gauge Dump proof membrane DPM . | 420 | SM |  | 0
2.3.6 | Supply BRC reinforcement A142 in 150 mm wide | 420 | SM |  | 0
2.3.7 | Supply all materials and cast 150 mm thick Vibrated concrete slab class 25 /20 Agg (1:1.5:3) | 420 | CM |  | 0
2.3.8 | Supply and fix 25 mm thick styroform at the expansion joints at the columns and walls | 30 | SM |  | 0
2.3.9 | Sawm form work to side of slab 150 mm thick | 150 | LM |  | 0
2.3.10 | 200 mm thick natural foundation stone walling bonded in cement /sand mortar ration (1;3) reinforced with 25 mm wide hoop iron at every two alternate courses for the access ramps and stairs | 80 | SM |  | 0
2.3.11 | 20 mm thick cement and sand mortar (1:3) with water proofing admixture to floor and wall at the access ramps and stairs. | 100 | SM |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 3;Substructure walling |  |  |  |  | 0
DIVISION 2-SUBDIVISION 4 - Superstructure To ring beam level.
Walling
2.4.1 | supply and fix 200 mm wide Bituminous DPC (Damp proof course ) | 220 | LM |  | 0
2.4.2 | Supply 200 mm wide masonary stones bonded in (1:3) cement sand ratio reinforced with 25 mm wide Hoop iron at every two alternate courses (Machine cut stones) | 510 | SM |  | 0
Column conc and reinforcement |  |  |  |  | 0
2.4.3 | Supply all materials and cast 200 mm X 200 mm concrete column class 25/20 agg (1;1.5;3) | 3 | CM |  | 0
2.4.5 | T12 mm high tensile DEFORMED bars (T); cold worked; BS4461 including bends, hooks, tying wire, distance blocks for column . | 300 | KG |  | 0
2.4.6 | T8 mm high tensile DEFORMED bars (T); cold worked; BS4461 including bends, hooks, tying wire, distance blocks for column . | 100 | KG |  | 0
2.4.7 | Sawn formwork to sides concrete column 200mm x 200 mm wide | 250 | SM |  | 0
Concrete Beam |  |  |  |  | 0
2.4.8 | Supply all materials and cast 200 wide 450mm high concrete beam | 25 | CM |  | 0
2.4.9 | T12 mm high tensile DEFORMED bars (T); cold worked; BS4461 including bends, hooks, tying wire, distance blocks for column . | 1800 | KG |  | 0
2.4.10 | Ditto but 8mm deformed bars stirrups at 175mm c/c. | 200 | KG |  | 0
2.4.11 | Sawn formwork to sides concrete beam 600 mm x 200 mm wide | 230 | SM |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 4; Superstructure to Ring Beam Level. |  |  |  |  | 0
Roofing
2.4.12 | Supply fix and weld 200 mm X 100 X 3 mm Rectangular hollow sections as main truss Rafters .Cost inclusive of primming and 2 coats of gloss paint | 400 | LM |  | 0
2.4.13 | Supply fix and weld 50 mm X 50 mm X 3 mm Rectangular hollow sections as mid Rafters .Cost inclusive of primming and 2 coats of gloss paint | 120 | LM |  | 0
2.4.14 | Supply fix and weld 140 mm X 50 X 20 X 2 ZED purlins cost inclusive of primming and 2 coats of gloss paint | 850 | LM |  | 0
2.4.15 | Provide and fix 26G Specified Jungle green Colored Box Profile Ironsheets, fixed to the purling as approved, complete with ridges. Cost inclusive of washers,screws | 1350 | SM |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 4; Roofing. |  |  |  |  | 0
DIVISION 2-SUBDIVISION 5 - FINISHES
Floor finish and wall finish
2.5.1 | 25 mm cement and sand screed ration (1:3) to receive ceramic floor tiles with a 2 % fall towards the front door | 420 | SM |  | 0
2.5.2 | Supply all materials including 300 x 300mm ceramic floor tiles to all floor surfaces, including skirtings ,except ramps. | 550 | SM |  | 0
2.5.3 | Supply all materials including terrazzo materials and fix onto ramps to all floor surfaces ,except ramps. | 20 | SM |  | 0
2.5.4 | 3 coats of plastic emulsion paint to walls internally | 915 | SM |  | 0
2.5.5 | Pointing and jointing to walls externally | 300 | SM |  | 0
Doors - Self opening sensor enabled except in Toilets. |  |  |  |  | 0
2.5.6 | Provide and fix Main Entrance sliding double shutter door 2000 mm X 2500 mm complete with frame hinges, union steel door lock, 3 pairs of brass hinges and painting; as D01 | 1 | No |  | 0
2.5.7 | Provide and fix Sliding double door door size 2400 mm x2500 mm complete with frame hinges, union steel door lock,3 pairs of brass hinges and painting; as D02, | 1 | No |  | 0
2.5.8 | Provide and fix corridor access sliding double door 1500 mm x2500 mm complete with frame hinges, union steel door lock,3 pairs of brass hinges and painting; D03 | 3 | No |  | 0
2.5.9 | Provide and fix rear exit sliding double door 1500 mm x2500 mm complete with frame hinges, union steel door lock,3 pairs of brass hinges and painting; D03 | 3 | No |  | 0
2.5.10 | Provide and fix interrrior access doors; (see plan); 900 mm x 2400 mm complete with 50 X100 mm aluminium frames and hinges, union steel door lock,1 pairs of brass hinges and painting; as D05 | 8 | No |  | 0
2.5.11 | Provide and fix interrrior access doors; (see plan); 900 mm x 2400 mm complete with 50 x 100mm / standard aluminium frame and hinges, union steel door lock,1 pairs of brass hinges and painting; as D05 | 8 | No |  | 0
Windows |  |  |  |  | 0
2.5.12 | Provide and fix 1550 mm X 610 mm steel castment windows, with a Sill height of 1800mm from finished floor level .Cost inclusive of painting and glazing with 6 mm clear glass panes; W04. | 4 | No |  | 0
2.5.13 | Provide and fix 1500 mm X 1800 mm steel castment windows, with a Sill height of 600mm from finished floor level .Cost inclusive of painting and glazing with 6 mm clear glass panes; W01. | 4 | No |  | 0
2.5.14 | Provide and fix 1730 mm X 1800 mm steel castment windows, with a Sill height of 600mm from finished floor level .Cost inclusive of painting and glazing with 6 mm clear glass panes; W03. | 8 | No |  | 0
2.5.15 | Provide and fix 1000 mm X 1800 mm steel castment windows, with a Sill height of 600mm from finished floor level .Cost inclusive of painting and glazing with 6 mm clear glass panes; W02. see drawings | 20 | No |  | 0
2.5.16 | Provide and fix 1000 mm X 1800 mm steel castment windows, with a Sill height of 600mm from finished floor level .Cost inclusive of painting and glazing with 6 mm clear glass panes; W05, opening Left. see drawings | 1 | No |  | 0
2.5.17 | Provide and fix 1000 mm X 1800 mm steel castment windows, with a Sill height of 600mm from finished floor level .Cost inclusive of painting and glazing with 6 mm clear glass panes; W02, Opening Right; see drawings. | 1 | No |  | 0
MS Grills |  |  |  |  | 0
2.5.18 | Supply fix and weld 1200 mm high grills and balustardes for stairs and ramp made of 50 X 50 X 3 mm SHS supporting frame with 35 X 35 x 3 mm Intermidiate SHS members spaced at 200 mm C/C .Cost inclusive of painting at the emergency exit | 80 | LM |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 5; Finish |  |  |  |  | 0
DIVISION 2-SUBDIVISION 6 - Plumbing and rain water harvesting
2.6.1 | Supply and fix Galvanised sheet box gutters fixed to the roof including sawn neck,down pipe ,fasteners to the wall and all necessary fixtures | 80 | LM |  | 0
2.6.2 | Supply 10,000 lts pvc cylindrical storage tank to receive water harvested | 2 | NO. |  | 0
2.6.3 | Supply 2,000 lts pvc Rectangular storage tank to receive water harvested | 2 | NO. |  | 0
2.6.4 | Allow for excavation of supply line 300 mm wide X 500 | 10 | LM |  | 0
2.6.5 | Supply and fix 50 mm diamter UPVC pipe for supply line .cost inclusive of connectors ,threading and fixing from the storage tanks | 200 | LM |  | 0
2.6.6 | Ditto but 25 mm diamter UPVC pipe to warehouses | 25 | LM |  | 0
2.6.7 | Supply fire fighting water hydrant 5 kg | 3 | NO. |  | 0
2.6.8 | Supply fire fighting powder hydrant 5 kg | 3 | No |  | 0
2.6.9 | Supply fire fighting Carbon dioxide hydrant | 3 | No |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 5; Plumbing and water harvesting |  |  |  |  | 0
DIVISION 2 -TOTAL
SUBTOTAL DIVISION 2 SUBDIVISION 1;EXCAVATION |  |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 2;Concrete works |  |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 3; Substructure Walling |  |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 4;Superstructure to Ring Beam |  |  | 0
SUBTOTAL DIVISION 2 SUBDIVISION 5;Plumbing and Water Harvesting |  |  | 0
TOTAL DIVISION 2 - SRUCTURE |  |  | 0

## Division 3 Electrical works
Bill of Quantities DIVISION 3 - CAMPO OFFICES -CAMEROUN - ELECTRICAL WORKS
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT [USD)
DIVISION 3 - SUBDIVISION 1 - Lighting
3.1.1 | Allow a provisional sum for supply and fixing of DBs, wiring, Labeling for the lighting work. | Item | 1 |  | 0
0
SUBTOTAL DIVISION 3 SUBDIVISION 1 -General Lighting |  |  |  |  | 0
DIVISION 3-SUBDIVISION 2- General Power Distribution
3.2.1 | Allow a provisional sum for supply and fixing of DBs, wiring, Labeling for the lighting work. | Item | 1 |  | 0
0
SUBTOTAL DIVISION 3 SUBDIVISION 2 -General Power Distribution |  |  |  |  | 0
DIVISION 3 SUBDIVISION 3 -WORKS NOT MEASURED ELSEWHERE
3.7.1 | Allow for identification and labelling of installation on completion of works. | Item | 1 |  | 0
3.7.2 | Allow for testing, commissioning and demonstration of entire installation on completion of works. | Item | 1 |  | 0
3.7.3 | Allow for preparing and providing necessary copies of working drawings for approval prior to commencement works. | Item | 1 |  | 0
3.7.4 | Allow for preparing and providing 3 copies of As Built drawings and 3 copies of operating instructions as necessary. | Item | 1 |  | 0
3.7.5 | Provide 2 copy compact disks (CDs) of As Installed drawings on AUTOCAD release 2018, ArchiCad 19 or latest. | Item | 1 |  | 0
3.7.6 | Allow for marking on site the proposed location of service outlets for approval. | Item | 1 |  | 0
3.7.7 | Liaise with main contractor for all builders works in connection with security and voice/data and lifts. | Item | 1 |  | 0
3.7.8 | Allow for liaison with the power provisions authorities in Cameroon. | Item | 1 |  | 0
3.7.9 | P.C Sum for Lightning Protection | Item | 1 |  | 0
SUBTOTAL DIVISION 3 SUBDIVISION 3 - WORKS NOT MEASURED ESLEWHERE. |  |  |  |  | 0
SUB-TOTALS DIVISION 3
SUBTOTAL DIVISION 3 SUBDIVISION 1 -General Lighting |  | 0
SUBTOTAL DIVISION 3 SUBDIVISION 2 -General Power Distribution |  | 0
SUBTOTAL DIVISION 3 SUBDIVISION 3 - WORKS NOT MEASURED ESLEWHERE. |  | 0
TOTAL DIVISION 3 - CAMPO OFFICE Electrical works |  | 0

## Division 4 Toilets
Bill of Quantities DIVISION 4 - CAMPO OFFICES -CAMEROUN - Toilets
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT [USD)
DIVISION 4 - SUBDIVISION 1 Supply and Fixing of Toilet Fittings and appliances.
4.1.1 | Supply and fix two Urinal fittings complete for use as armitage shanks products or better and approved product and as per the Architectural drawings, complete with all accessories. | 2 | No. |  | 0
4.1.2 | Supply and fix WC seats for toilets at the designated points as armitage shanks or better and approved source, and as per the Architectural drawings, complete with all accessories. | 2 | No |  | 0
4.1.3 | Supply ceramic WC with low level cistern for the disabled people with all necessary stain less steel grab rails at the designated points as armitage shanks or better and approved source, and as per the Architectural drawings, complete with all accessories. | 2 | No |  | 0
4.1.4 | Supply and fix Wash Hand Basins at the designated points as armitage shanks or better and approved source, and as per the Architectural drawings. | 4 | No |  | 0
4.1.5 | Supply and fix approved floor traps. The floor traps should made of stainless steel materials and should be free from corrossion with a warranty of a minimum of 5years without corrossion. | 7 | No |  | 0
4.1.6 | Supply and fix stainless steel toilet roll holders at convenient locations in the toilets. | 4 | No |  | 0
4.1.7 | Supply and fix 1200mm long x 1000mm high mirrors in the toilets; gents and Ladies. | 2 | No |  | 0
4.1.8 | Supply and fix extractor fans above the toilet windows as indicated in the drawings. Coordinate with the electrical team to have them function well after installation. | 4 | No |  | 0
4.1.9 | Allow a provisional sum for supply and fixing of other toilet accessories to ensure it's full functionality such as gully traps, soil vent pipes and other connection accessories to the drain lines. | 1 | Item |  | 0
SUBTOTAL DIVISION 4 SUBDIVISION 1;Toilets. |  |  |  |  | 0
DIVISION 4 - SUBDIVISION 2 Supply and Fixing of Kitchennett Fittings and accessories
4.2.1 | Allow a provisional sum for the construction of 100mm wide walls, a slab for the Kitchennett top (4300mm x 60mm) with 4number cabinets below them, a kitchen sink and a space for the fridge and a 4burner cooker stand. | 1 | Item |  | 0
4.2.2 | Allow a provisional sum for fabrication of low level lockable cabinets 2500mm long and, and a high level kitchen cabinet of 2500mm long as well at a convenient height at the Kitchen store | 1 | Item |  | 0
4.2.3 |  |  |  |  | 0
SUBTOTAL DIVISION 4 SUBDIVISION 1;Kitchen |  |  |  |  | 0
SUBTOTAL DIVISION 3 SUBDIVISION 1;Excavation works |  |  | 0
SUBTOTAL DIVISION 3 SUBDIVISION 1;Excavation works |  |  | 0
TOTAL DIVISION 4,Toilets and Kitchenett |  |  | 0

## Division 5 Septic
Bill of Quantities DIVISION 5 - CAMPO OFFICES -CAMEROUN - Septic Tank
ITEM | DESCRIPTION | UNIT | QTY | RATE (USD) | AMOUNT [USD)
Division 5 Subdivision 1 :Excavation
5.1.1 | Excavate for a standard septic tank; 3900 mm long, 1800 mm wide and 2,5m deep (provide 500mm working space both sides. This is a standard Septic type 'B' | CM | 34.3 |  | 0
5.1.2 | Return Fill and rum excavated material around the septic wall after consruction | CM | 19.3 |  | 0
5.1.3 | Load cut and dispose away from site the overburdened material | CM | 15 |  | 0
Subtotal -Division 5 Subdivision 1-Excavation |  | 0
Division 5 Subdivision 2 :Foundation works
5.2.1 | Supply all materials and cast 150 mm mass concrete slab class 20 /20 (1;2;4) with 450 mm sunken footing at the external wall 200 mm thick | SM | 1.44 |  | 0
5.2.2 | 200 mm thick natural foundation stone walling bonded in cement sand mortar (1:3) | SM | 26 |  | 0
Subtotal -Division 5 Subdivision 2-Foundation works |  |  |  |  | 0
Division 5 Subdivision 3 :Plaster works and screed
5.3.1 | Internal walls plastering 20mm thick mortar ratio 1:3 | SM | 28.5 |  | 0
5.3.2 | External rendering to walls to receive waterproofing | SM | 24 |  | 0
5.3.3 | Actatic -polypropylene (APP) waterproofing membrane or equivalent including installation per suppliers specification | SM | 24 |  | 0
5.3.4 | 25 mm thick floor screed in cement /sand mortar (1;3) mixed with water proof admixture | SM | 6.3 |  | 0
Subtotal -Division 5 Subdivision 3-Plaster works |  |  |  |  | 0
Division 5 Subdivision 4 :Concrete works
5.4.1 | 120 mm thick RC suspended slab as shown in the septic tank design | CM | 0.7 |  | 0
5.4.2 | 200 mm X 200 mm RC beam round the slab as shown in the design | SM | 0.5 |  | 0
5.4.3 | Supply cut and fix 12 mm mild steel reinforcement spaced at 150 mm c/c both ways for the suspended slab | KG | 164 |  | 0
5.4.4 | Supply ,cut and fix 4Y12 mild steel reinforcement for the beam | KG | 43 |  | 0
5.4.5 | Supply all materials and construct 600 mm wide 800 mm manhole made of masonary wall and concrete footing | NO | 10 |  | 0
5.4.6 | Supply and fix cast iron manhole cover 600 mm X 800 mm | NO | 12 |  | 0
5.4.7 | Provide and install 2 Plastic pipes dia 4, inlet and outlet and connect the outlet to the SOAK PIT from the warehouse and soakpit with all necessary connections | SUM | 1 |  | 0
Subtotal -Division 5 Subdivision 4 -Concrete works |  | 0
Division 5 Subdivision 5: Subdivision 5 Soak pit
5.5.1 | SOAK PIT: Undertake the necessary excavations and construct Soak pit (1.40m long X 1.40 m wide X 3m) deep covered with 150 mm reinforced concrete slab on a 200 mmm thick beam . More details See design of the Soak pit. | SUM | 1 |  | 0
Subtotal -Division 5 Subdivision 5- Soak pit
Division 5 Subdivision 5 :Subdivision 6 Piping and manholes
5.6.1 | 100 mm diameter brown pvc waste pipe .Cost inclusive of excavation ,laying , backfilling and all necessary connections | SUM | 90
5.6.2 | 450 mm X 600 mm manhole covers (both for manholes and septic) | NO | 4
5.6.3 | 450 mm x 600 mm internal dimmension 200 mm thick masonary walled manhole 500 mm deep | NO | 2
Subtotal -Division 5 Subdivision 6 -Piping and Manholes
Summary Sub Total division 5-Septic tank
Subtotal -Division 5 Subdivision 1-Excavation |  | 0
Subtotal -Division 5 Subdivision 2-Foundation works |  | 0
Subtotal -Division 5 Subdivision 3-Plaster works |  | 0
Subtotal -Division 5 Subdivision 4 -Concrete works |  | 0
Subtotal -Division 5 Subdivision 5- Soak pit |  | 0
Subtotal -Division 5 Subdivision 6 -Piping and Manholes |  | 0
TOTAL Division 5 cost for Septic tank |  | 0

## Division 6 External works
Bill of Quantities DIVISION 6 - CAMPO OFFICES -CAMEROUN - EXTERNAL WORKS
ITEM | DESCRIPTION | UNIT | QTY | RATE (USD) | AMOUNT [USD)
Division 6 EXTERNAL WORKS.
6.1.1 | Supply 600 X 600mm wide PCC slabs 50 mm thick bonded on well compacted murram around the building | SM | 120 |  | 0
6.1.2 | Supply and plant tree seedling .The seedling variety to be advised by the AWF conservation team.Cost inclusive of watering during the construction phase until site handing over | No | 30 |  | 0
6.1.3 | Supply and fix purpose made Precast Concrete planters around the office block as indicated in the drawings, and as advised by AWF conservation team. Cost inclusive of watering during the construction phase until site handing over. | Item | 1 |  | 0
6.1.4 | Ground leveling around the Building | SUM | 1 |  | 0
Total Division 6 EXTERNAL WORKS |  |  |  |  | 0